PORTABLE H2 LEAK DETECTOR

AURIGA

AURIGA

Portable Hydrogen Leak Detector

Product Features:

- Patented Solid State Electrochemical Hydrogen Sensor with Solid Electrolyte and Novel Reference Electrode.

- Extremely Compact Design

- Selective and Specific to Hydrogen

- High Sensitivity to Minute Leaks – 10 ppm

- Sub-second Response Time

- Widest Operating Range

- Over-Exposure Damage Resistant

- Operating Life of 5 years

- Audio & Visual Perception of H2 Leaks

- Smart Algorithms for User Friendly Interactions

- Long Duration Battery Backup

- Probe Options & Extension Accessories

- Single Hand Operation Variants

- Internal Memory for Records

- USB C-Type for Charging & Data Transfer

- IP 67 Ingress Protection

Product Benefits:

- Enhanced Safety: User can pin-point very low levels of leak at very early stages and act proactively to fix the leaks.

- Enhanced Operator Efficiency: Checking leaks takes 10X less time compared to traditional H2 leak detectors, due to sub-second response and recovery time.

- Design Advantage: Small and easy to handle. Extended and flexible probe design enables insertion of the probe into high or small and space constrained locations.

- No Damage on Over-Exposure: Sensor can be taken as close to the leak source as needed, without worrying about sensor damage.

- Saves operational cost: No false alarms avoiding unnecessary down time.

- Comprehensive AMC: Periodic calibration and cashless product replacement even beyond warranty period.

- Product Upgrade Plans: Buy back options to upgrade your safety systems with our latest and best in class offerings.

Technical Specifications:

Hydrogen Concentration Terminology Conversion Table for Ease of Reference

Hydrogen Lower Explosive Limit (‘LEL’) – 4% H2 v/v in Air

250% H2 LEL = 10% H2 v/v in Air = 1,00,000 ppm H2 v/v                                                   125% H2 LEL = 5% H2 v/v in Air = 50,000 ppm H2 v/v                                    100% H2 LEL = 4% H2 v/v in Air = 40,000 ppm H2 v/v                                                       50% H2 LEL = 2% H2 v/v in Air = 20,000 ppm H2 v/v                                        25% H2 LEL = 1% H2 v/v in Air = 10,000 ppm H2 v/v                                                           1% H2 LEL = 0.04% H2 v/v in Air = 400 ppm H2 v/v

| Selectable Ranges | Range 1 | Range 2 | Range 3 |
| --- | --- | --- | --- |
| Start | 0 ppm | 0 ppm | 0 ppm |
| Span | 5000 ppm | 5 vol% | 10 vol% |
| Unit of Measurement | ppm to vol%: Auto-scaling %LEL: Long press toggle | ppm to vol%: Auto-scaling %LEL: Long press toggle | ppm to vol%: Auto-scaling %LEL: Long press toggle |
| Resolution | 0 to 1000 ppm = 1 ppm 1000 to 5000 ppm = 10 ppm | 0 to 1000 = 1 ppm 1000 to 5000 = 10 ppm 0.5% to 5% = 0.01% | 0 to 1000 = 1 ppm 1000 to 5000 = 10 ppm 0.5% to 5% = 0.01% |
| Minimum Detection Limit (MDL) | 10 ppm | 10 ppm | 10 ppm |
| Accuracy (MV=Measured Value) | 0 to 10ppm: ±5ppm 10 to 100ppm: ±20 ppm 100 to 1000ppm: ±100 ppm 1000 to 5000ppm: ±5% of MV | 0 to 10ppm: ±5ppm 10 to 100ppm: ±20ppm 100 to 1000ppm: ±100ppm 1000 to 5000ppm: ±5% of MV 0.5% to 5%: ±2% of MV | 0 to 10ppm: ±5ppm 10 to 100ppm: ±20ppm 100 to 1000ppm: ±100ppm 1000 to 5000ppm: ±5% of MV 0.5% to 10%: ±2% of MV |
| Detection Certainty | 100% |  |  |
| Cross Sensitivity | No cross sensitivity to other combustible and reducing gases. |  |  |
| Selectivity & Specific | H2 only |  |  |
| Background Gas Options | - Air - Oxygen - Inert – Nitrogen, Argon and Helium - Combustible Gases Background gas must be selected by the customer at the time of placing order as this choice has a bearing on the instrument calibration settings. |  |  |
| Response Time | T10: Less than 0.5 seconds ¦ T90: Less than 3 seconds |  |  |
| Operating Temperature | -20℃ to +65℃ |  |  |
| Storage Temperature | -20℃ to +65℃ |  |  |
| Operating Humidity | Up to 99% RH at 40℃ (Non-condensing) for sensor probe. |  |  |
| Operating Pressure | 1 Bar to 1.2 Bar |  |  |
| Storage Conditions | 0℃ to +45℃. RH% < 90%. Store in a cool and dry place. Device must be stored in power OFF mode. Carrying case included. |  |  |
| Area of Deployment | Safe Area. This instrument should not be deployed in a Hazardous Area. |  |  |
| Compatible Batteries | 3 x Rechargeable AA Ni-MH batteries with over-charging protection and battery diagnostics. Batteries supplied in packed condition separately. |  |  |
| Compatible Charger | Standard USB C-Type charger used with mobile phones. Charger to be ordered separately. |  |  |
| Battery Life on Single Full Charge | 12 hours to 24 hours based on the number of times H2 is detected and power consumed by the buzzer and other visual indications. |  |  |
| Resistant to Over-Range Exposure | No damage on short term exposure to even 100% pure Hydrogen - In-house lab tested for 15 second exposure to 100% pure Hydrogen. - In-house lab tested for 5 minutes exposure to 40% Hydrogen in Nitrogen. - In-house lab tested for 10 minutes exposure to 20% Hydrogen in Methane. |  |  |
| Single Shot Calibration | User-friendly calibration routine taking less than 10 minutes, using a single certified reference gas mixture. Calibration kit can be ordered as an accessory. Recommended cycle: Once in every 6 months. Mandatory cycle: Once in every 12 months. |  |  |
| Display | OLED display with H2 concentration, leak intensity bar graph, sensor status, battery status and icons for operating mode, low alarm, high alarm and danger level. Flashing over-range indication. |  |  |
| Soft Touch Buttons | Multi-function soft touch buttons for Power ON/ OFF and Sleep Mode toggling, Menu / Return to Previous Screen, Up, Down, Left, Right and Enter. |  |  |
| Multiple Operating Modes | Easy access menu for choosing operating modes: - Leak Detection - Calibration - Diagnostic - Computer Interface |  |  |
| Concentration Display | Volumetric Measurement: XXXX PPM or XX.XX vol% Automated switchover from PPM to vol% range at user selectable threshold. %LEL Measurement: XXX.X % LEL User can manually toggle the concentration display between volumetric or % LEL unit of measurement. |  |  |
| Alarm Levels | User settable Low Alarm and High Alarm levels. The screen will display Low and High alarm icons and play different tones when the respective thresholds are crossed. |  |  |
| Danger Level | The screen shall display a danger icon when the measured H2 concentration equals or exceeds 4 vol% or 100% LEL. |  |  |
| Over-Range Indication | If the H2 concentration exceeds the Span value of the instrument, the concentration readout will be replaced with a flashing OVERRANGE message. |  |  |
| Visual Cue | Background colour inversion upon sensing H2 for immediate peripheral visual alert. |  |  |
| Multi-tone Buzzer | Sensor alive beeps. Multi-beat tones with increasing frequency and intensity proportional to H2 levels detected for instantaneous independent auditory perception of H2 leaks detected. |  |  |
| Data Recording & Internal Storage | Dedicated recording mode with Main Location and Sub Location tagging. Variants for storing up to 20 / 100 / 200 records of 30 seconds each. |  |  |
| Computer Interface | USB C cable for interface with computer for data transfer and advanced dashboard features like graphs, diagnostic and device management on the computer. |  |  |
| Smart Algorithms |  |  |  |
| Start-Up Routine | Interactive routine to ensure instrument is powered on in H2 free ambient Air for automated ZeroCal and Probe status check. |  |  |
| Power Off Routine | Interactive routine to ensure the instrument is safely powered off and all session readings and internal values are stored safely. |  |  |
| Zero Drift Correction | Automatic + Manual ZeroCal Automatic + Manual ZeroCal Automatic + Manual ZeroCal |  |  |
| Sensor Readiness Check | Internally detects the sensor readiness for detecting low leaks (up to 100ppm) and high leaks (above 100ppm) |  |  |
| Over-Range Recovery Mode | Internally diagnoses an over-exposure event and processes sensor recovery for readiness to check H2 leaks again within 10 minutes. |  |  |
| Sleep Mode | The device has a power saving feature to manually turn off the display. Wake button can be used to bring the device into operating mode. |  |  |
| Manual Override | Flexibility for user to perform ZeroCal on the go for quick leak checks. |  |  |
| Diagnostic Mode for Probe | Dedicated mode for availing on-line technical support to troubleshoot issue or optimize performance according to the use case. |  |  |
| Diagnostic Mode for Monitor | Dedicated mode to check the health of display, buttons, and buzzer. |  |  |
| Monitor Physical Details | Hand held display unit is a rugged and sleek plastic body with soft touch buttons. |  |  |
| Dimensions | 145 x 88 x 34 (L X B X H) in mm. |  |  |
| Material of Construction | Hard shell: ABS. Grips: TPE |  |  |
| Weight | 300 gms approx. (With batteries) |  |  |
| Sensor Probe | A rugged stainless steel/aluminium machined probe with the sensor at the probe tip. |  |  |
| Dimensions | Total length: 260mm. Handle OD: ø24mm |  |  |
| Probe Connecting Cable | Up to 1500mm cable to connect the Sensor Probe with the Monitor. |  |  |
| Sensing Surface Position | Sensor is housed at the tip of the probe for ultra-high sensitivity and suction free operation. |  |  |
| Gas Exposure Method | Diffusion. Gas exposure aperture Ø 3mm. |  |  |
| Weight | Up to 400 grams |  |  |

Product Ordering Nomenclature:

Auriga		XX

Product Series Name	Range Full Scale

5K -   5,000 PPM H2 v/v

5% -   5% H2 v/v

10% -  10% H2 v/v

Product specifications are subject to change without prior notice or approval. The product image displayed in the catalogue may be in minor variance with the actual product.

Contact Us:

For more information and booking live demos, please get in touch with us at following coordinates

Email: sales@multinanosense.com

Phone: +91 – 91582 77189

Website: www.multinanosense.com